## 6-monthly inspection
07032022 Appendix G to NOGEPA Standard 100 V3
EXAMPLE 6 -MONTHLY HELIDECK INSPECTION REPORT
PLATFORM:
Owner/Operator:
Date: |  |  | X
Name of Checker: |  |  | X
Where items are missing or are unserviceable, state what actions have been taken and/or what mitigations have been put in place.
No |  | Item |  | Remarks
1 |  | Meteorological Equipment
1.1 | • | Automated Weather System - Wind Speed & Direction / Air Temperature & Dew Point / Pressure (QNH/QFE) / Cloud amount & Height / Visibility / Present Weather
• All sensors serviceable - Yes/No
1.2 | • | Met Observers certificates - In date
1.3 | • | Last Calibration Date
2 |  | Helideck Equipment
2.1 | • | Chocks - Type & Quantity
2.2 | • | Tie down straps/ropes - Type & Quantity
2.3 | • | Helicopter start unit
2.4 | • | Prohibited Landing Marker - 4 x 4m red flag with diagonal yellow cross
2.5 | • | Windsock
• Location(s)
• Condition
• Illumination - Working (Daylight Only when broken)
2.6 | • | Scales for baggage and freight
• Max weight, (lbs/kg)
• Calibration date
2.7 | • | Rescue Equipment box
• Condition
• Location(s)
• Contents - As per checklist
2.8 | • | Protective Clothing
• Confirm sufficient for all helideck crew
• Is HLO easily identifiable from the HDA’s i.e Hi-Vis jacket with HLO letters
• Condition
• Location(s)
3 |  | Helideck Surface
3.1 | • | Colour
3.2 | • | Condition - Paint & cleanliness (Guano, corrosion etc)
3.3 | • | Confirm last friction test date & result (not required if landing net fitted)
3.4 | • | Gutter & Down pipes - Clear
4 |  | Helideck Net (not required on an Approved Friction Surface)
4.1 | • | Type - Rope/Webbing (Knotted / Threaded / Interlaced)
4.2 | • | Confirm tie-down straps every 1.5m
4.3 | • | Condition
5 |  | Perimeter Net
5.1 | • | Material - Plastic coated wire / Frictape / etc.
5.2 | • | Condition
5.3 | • | Confirm latest test results
6 |  | Access
11.1 | • | Locations - suitability
6.1 | • | Handrails
• Fixed / Foldable / Removable
• Conspicuous colours
6.2 | • | Safety notices - Location
7 |  | Obstruction Environment
7.1 | • | Landing Area - Maximum height 25mm (210° sector)
7.2 | • | Confirm both sectors of the LOS clear (150° sector)
7.3 | • | Temporary items (items added since last inspection)
8 |  | Lighting
8.1 | • | Perimeter & Floodlights - All working with no dazzle
8.2 | • | General lighting - All working with no dazzle
8.3 | • | Obstruction Marking and Lighting - Structures > 15m above deck level
All working - None flashing
8.4 | • | Status Lights - Quantity & location / Confirm working
9 |  | Fire Fighting equipment
9.1 | • | Fixed Monitor / DIFF System - Serviceability
9.2 | • | Latest foam test report / certificate
9.3 | • | Confirm service date of portable AFF, DP & CO2 extinguishers
10 |  | Helideck Crew |  | Training - 2 year validity
10.1 | • | HLO's
• Check validity of training certificates - HLO Course / Emergency Heli Team Member / Radio Licence / DG by Air Awareness / Refuelling
10.2 | • | HDA's
• Check validity of training certificates - Emergency Heli Team Member / DG by Air Awareness
10.3 | • | Heli Admin
• Check validity of training certificates - DG by Air Awareness / Radio Licence
10.4 | • | Confirm all helideck teams are trained to NOGEPA standards, have in date certificates and DG Awareness training successfully completed
11 |  | Dangerous Goods
11.1 | • | Qualified Personnel
• Nominated Persons (Shipper & Packer)
• Certificates expiry dates
Notes/Comments Add any comments here incuding feedback to Helicopter Operators
Signed: __________________________________
Date: __________________________________
Position:__________________________________

## Helideck Crew Training Matrix
Helideck Crew & Heli-Admin Training
Installation:
NAME | HLO Course 2 yearly |  | HLO/HDA Fire Fighting 2 yearly |  | Radio Licence | Dangerous Goods Awareness Training 2 yearly
| Date | Expires | Date | Expires | Date | Date | Expires
To be completed by the OIM and kept up to date. It is to be made available, complete with supporting documentation, at any time when requested by a Helideck inspector or a member of a National Aviation Authority (IL&T). Note: All personnel involved on an installation/vessel with helicopter operations are to be appropriately qualified (i.e. all relative certificates are to be valid) and current in the exercise of their duties. On those installations/vessels where actual helicopter operations are infrequent it is the responsibility of the OIM to ensure that sufficient training is carried out to compensate for any lack of actual operational experience.